01–02 Weeks

Electrical Fundamentals & PLC Basics

- Electrical safety and industrial control circuits

- Sensors, actuators, relays and contactors

- PLC architecture, scan cycle and memory

- Digital I/O wiring and sourcing/sinking concepts

- Introduction to ladder logic and relay-to-PLC conversion

03–04 Weeks

Core PLC Programming

- NO/NC contacts, coils and latching

- Set/reset, interlocks

- Timers, counters and comparison instructions

- Move, arithmetic and data-handling instructions

- Sequence control, fault logic and troubleshooting

05–06 Weeks

Intermediate & Advanced PLC

- Analog inputs/outputs and scaling

- Structured programming and reusable functions

- Data blocks/tags and program organization

- Troubleshooting with online diagnostics

- PLC simulation and practical assessments

07 Week

HMI Development

- HMI hardware and PLC communication

- Screen navigation and process graphics

- Buttons, indicators and numeric displays

- Alarms, trends, user permissions and popups

08 Week

SCADA Development

- SCADA architecture and tag configuration

- Process visualization and alarm management

- Historical trends, data logging and reports

- PLC–SCADA integration and communication testing

09 Week

VFD & Motor Automation

- VFD parameters and motor nameplate data

- Start/stop, speed reference and feedback

- Analog and fieldbus control

- Fault monitoring and drive troubleshooting

10 Week

Industrial Communication

- Ethernet and IP addressing

- PROFINET for Siemens

- EtherNet/IP for Allen-Bradley

11 Week

Electrical Design & Integration

- Control and power circuit interpretation

- PLC I/O lists and electrical schematics

- Panel component selection and BOM fundamentals

12 Week

Industrial Project & Final Assessment

- Develop a complete automation sequence

- Integrate PLC, HMI, and VFD where applicable

- Test alarms, interlocks and fault recovery

- Submit program, I/O list and project documentation.